Introduction to EPICS
Introduction to EPICS
(Ned Arnold, John Maclean)

---
What is EPICS?
A Collaboration
A Control System Architecture
A Software Toolkit

---
A Collaboration
  - Began in 1989 between LANL/GTA & ANL/APS
    - (Bob Dalesio & Marty Kraimer)
  - Over 150 license agreements were signed before EPICS became “open source”
  - Recent EPICS collaboration meetings
    - 100+ Attendees
    - 30+ Institutions
    - 75+ Presentations
  - List server; tech-talk: the collaboration in action
  - Collaborative efforts vary
    - Assist in finding bugs
    - Share tools, schemes, and advice

---
Major Collaborators
  - ANL (APS Accelerator, APS Beamlines, IPNS)
  - LANL
  - ORNL (SNS)
  - SLAC (SSRL, LCLS)
  - JLAB (CEBAF)
  - DESY
  - BESSY
  - PSI (SLS)
  - KEK
Recent Collaborators
  - DIAMOND Light Source (Rutherford Appleton Laboratory, Oxfordshire)
  - The Australian Synchrotron (AusSy) (Melbourne)

---
- A Collaboration
- A Control System Architecture
  - Network-based “client/server” model (hence the EPICS logo)
EPICS
CA
CA
Client
Client
CA
CA
Server
Server
For EPICS, client and server speak of their Channel Access role
i.e. Channel Access Client & Channel Access Server

---
Channel Access clients are programs that require access to Process Variables to carry out their purpose
StripTool
MEDM
CAC
CAC
Process
Variables
Process
Variables
CAS
CAS
The “service” that a Channel Access server provides is access to a Process Variable*
* A Process Variable (PV) is a named piece of data.

---
Process Variable
  - A Process Variable (PV) is a named piece of data associated with the machine (e.g. status, readback, setpoint, parameter)
  - Examples of PV names and values:
    - S1:VAC:reading 3.2e-08 torr
    - LINAC:BPM4:xPosition -0.323 mm
    - BOOSTER:gateValvePosition ‘OPEN’
    - S3:DIPOLE:PS:setPoint 123.4 Amps
    - APS:Mode ‘Stored Beam’
    - BL3:HISTOGRAM {3, 8, 1, 2, 56, 44, 32, 43, 3, 5, 1}

---
Process Variable
  - A Process Variable is a named piece of data with a set of attributes
  - Examples of Attributes:
    - Alarm Severity (e.g. NO_ALARM, MINOR, MAJOR, INVALID)
    - Alarm Status (e.g. LOW, HI, LOLO, HIHI, READ_error)
    - Timestamp
    - Number of elements (array)
    - Normal Operating Range
    - Control Limits
    - Engineering Unit Designation (e.g. degrees, mm, MW)

---
A Control System Architecture
  - Network-based “client/server” model where the basic data element is a Process Variable
  - The Channel Access Protocol defines how Process Variable data is transferred between a server and client
  - The entire set of Process Variables establish a Distributed Real-time Database of machine status, information and control parameters
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS

---
- By default, Channel Access traffic is constrained to a single subnet, but configuration options can direct traffic elsewhere
- Physical hierarchies can be implemented using switches, routers, and gateways
Gateway

---
My Special Data Collection Program
Any tool/program/application that abides by the Channel Access protocol could be described as “EPICS Compliant”.
StripTool
MEDM
CAC
CAC
CAC
EPICS can be viewed as a “toolkit” of EPICS compliant programs. One can select the appropriate tool for their need or develop their own.
My Accelerator Simulator Code
(PVs)
iocCore
(PVs)
LabView
(PVs)
CAS
CAS
CAC
CAS
CAC

---
How does it do it?
How does it do it?
Channel Access Client
Channel Access Client
Channel Access Client
Channel Access Client
Channel Access Server
Process Variables:
Power Supply
Computer Interface
S1A:H1:CurrentAO
S1:P1:x
S1:P1:y
S1:G1:vacuum
Beam Position Monitor
Computer Interface
Vacuum Gauge
Computer Interface
[Speaker Notes: Let’s take an example: Suppose you had a particle accelerator to control. Among many other things,]

---
Where does it do it?
Where does it do it?
Channel Access Client
Channel Access Client
Channel Access Client
Channel Access Client
Channel Access Server
Process Variables:
Power Supply
Computer Interface
S1A:H1:CurrentAO
S1:P1:x
S1:P1:y
S1:G1:vacuum
Beam Position Monitor
Computer Interface
Vacuum Gauge
Computer Interface
iocCore
Remote Control & Monitoring
Access Security
Alarm Detection
Data Trending/Archiving
Automatic Sequencing
Alarm Logging/Reporting
Data Conversion/Filtering
Closed-loop Control
Closed-loop Control
Operational Constraints
Operational Constraints
Data Trending/Archiving
Modeling/ Simulation/Analysis
Automatic Sequencing
Configuration Control
[Speaker Notes: Let’s take an example: Suppose you had a particle accelerator to control. Among many other things,]

---
Canonical Form of an EPICS Control System
Canonical Form of an EPICS Control System
Client Software
MEDM
OAG Apps
StripTool
ALH
TCL/TK
Many, many others
Perl Scripts
Channel Access
IOC Software
EPICS Database
Custom Programs
Sequence Programs
Commercial Instruments
Custom Chassis/Panels
Real-time
Control
Technical Equipment
CA Server Application
Process Variables
IOC
IOC
IOC
IOC
CAS
CAS

---
Typical Realizations of an EPICS System
Typical Realizations of an EPICS System
Most CAS Apps were based on Unix or Windows
All IOCs were based on vxWorks (mostly VME)
Commercial Instruments
Custom Chassis/Panels
Technical Equipment
IOC
IOC
IOC
IOC
CAS
CAS

---
Typical Realizations of an EPICS System
With Release 3.14, the operating system limitations for iocCore have been removed.
Commercial Instruments
Custom Chassis/Panels
Technical Equipment
RTEMS
IOC
IOC
IOC
IOC
CAS
CAS

---
How fast is EPICS?
How fast is EPICS?
- Can be fast or slow, it depends how you use it!
- Use the correct tool for the job; Database, sequencer, custom code (ioc) or custom code (client)
- Ultimately speed depends upon hardware
- Some benchmarks*:
Machine	OS	CPU	Speed	Rec/sec	%CPU
MVME167	vxWorks	68040	33MHz	3,000	25
MVME 2306	vxWorks	PPC604	300MHz	20,000	20
MVME5100	vxWorks	PPC750	450MHz	100,000	25
PC	Linux	PII	233MHz	10,000	27
PC	Linux	P4	2.4GHz	100,000	18
* Extrapolated from benchmark figures courtesy of Steve Hunt (PSI) and L.Hoff, (BNL)
Database design and periodic scanning effect apparent system speed

---
Some recent changes
- Updated motor support
- 2-D image handling
  - Plug-ins for image processing
  - Lots of cameras supported
EPICS on SheevaPlug
  - $99 linux machine in wall-adapter plug housing