Channel Access & Client Tools
Author:	Kenneth Evans, Jr. August 2004
Modified:	Kay Kasemir October 2006
Andrew Johnson 2007 – 2014
Channel Access and Client Tools

---
EPICS Overview
EPICS Overview
CSS
EDM
MEDM
Archiver
SDDS
…
Channel Access
Server
IOC
IOC
IOC
Meter
Power Supply
Camera
Client Tools

---
Channel Access
Channel Access
- The EPICS “software bus”
- Used to read and write values to/from Process Variables
- To many people, Channel Access is EPICS
  - Especially those that have no IOC experience
  - “Integrate X into EPICS” often means “Be able to control X via CA”
- CA is not defined by a protocol specification
  - EPICS Core Developers maintain CA client and server libraries in EPICS Base
    - Any client version can connect to and communicate with any server version
  - Other client and server implementations exist
    - These may not interoperate as well with other versions

---
What is a Process Variable (PV)
- “A named item of data, with associated optional attributes”
  - Data is an Integer, Floating point number, enumeration value or string, or an array of any of those types
  - Possible attributes include timestamp, alarm status/severity, precision, engineering units string, list of enumeration strings, operator/control/ alarm limits
  - The specific attributes you can fetch along with the data are restricted to some predefined subsets of those available

---
Channel Access in One Slide
“connection request” or “search request”
“connection request” or “search request”
“get” or
“caGet”
“get” or
“caGet”
“put” or
“caPut”
“put” or
“caPut”
“set a monitor”
“set a monitor”
Who has a PV named “S1A:H1:CurrentAO”?
Who has a PV named “S1A:H1:CurrentAO”?
Change its value to 30.5
Change its value to 30.5
Notify me when the value changes
Notify me when the value changes
What is its value?
What is its value?
Channel Access Client
Channel Access Client
CA Client
CA Client
CA Server
CA Server
Channel Access Server
Channel Access Server
I do.
I do.
25.5 AMPS
25.5 AMPS
OK, it is now 30.5
OK, it is now 30.5
It is now 20.5 AMPS
It is now 20.5 AMPS
It is now 10.5 AMPS
It is now 10.5 AMPS
It is now -0.0023 AMPS
It is now -0.0023 AMPS
Process Variables:
Process Variables:
“put complete”
“put complete”
“post an event”
or
“post a monitor”
“post an event”
or
“post a monitor”
S1A:H1:CurrentAO
S1:P1:x
S1:P1:y
S1:G1:vacuum
S1A:H1:CurrentAO
S1:P1:x
S1:P1:y
S1:G1:vacuum
30.5 is too high. It is now set to the maximum value of 27.5.
30.5 is too high. It is now set to the maximum value of 27.5.
or
or
You are not authorized to change this value
You are not authorized to change this value
or
or

---
Tools Covered in This Presentation
Tools Described in This Presentation
- Command-line tools provided with EPICS Base
  - caget
  - caput
  - camonitor
  - cainfo
- Various clients provided as EPICS Extensions
  - MEDM
  - EDM
  - StripTool
  - ALH

---
More Information
More Information & Tools
- The EPICS website provides a wealth of information
  http://www.aps.anl.gov/epics/
- All EPICS Extensions programs here have a link or a page there
- There are many other tools described/linked there too
- Base command line tools are usually found at
  - …epics/base-<version>/bin/<platform>/<executable>
    - /opt/epics/base-3.14.12.4/bin/linux-x86_64/…
- Extensions programs are usually installed in
  - …epics/extensions/bin/<platform>/<executable>
    - /opt/epics/extensions/bin/linux-x86_64/…
  - Platforms are linux-x86_64, darwin-x86, win32-x86, etc.

---
Command-Line Tools
Command-Line Tools
- There used to be several versions of these tools
- We will discuss the ones that come with EPICS Base
- The tools we will cover are:
  - caget
    - Gets the value of one or more process variables
  - caput
    - Sets the value of one process variable
  - camonitor
    - Monitors value changes of one or more process variables
  - cainfo
    - Gets information about one or more process variables
- All accept –h to display usage and options
NOTE: Some sites may have much older versions of these programs in their default Unix search path.

---
Caget Example
Caget Example
Get the values of two process variables
caget S35DCCT:currentCC S:SRlifeTimeHrsCC
Returns
S35DCCT:currentCC 102.037
S:SRlifeTimeHrsCC 7.46514

---
Caput Example
Caput Example
Set the value of a process variable
caput Xorbit:S1A:H1:CurrentAO 1.2
Returns
Old : Xorbit:S1A:H1:CurrentAO 0
New : Xorbit:S1A:H1:CurrentAO 1.2

---
Camonitor Example
Camonitor Example
Monitor two process variables
camonitor evans:calc evans:bo01
Returns
evans:calc 2004-08-05 17:23:04.623245 1
evans:bo01 2004-08-05 17:23:04.623245 On
evans:calc 2004-08-05 17:23:05.123245 2
evans:bo01 2004-08-05 17:23:05.123245 Off
evans:calc 2004-08-05 17:23:05.623245 3
evans:calc 2004-08-05 17:23:06.123245 4
evans:calc 2004-08-05 17:23:06.623233 5
evans:calc 2004-08-05 17:23:07.123183 6
Use Ctrl-C to stop monitoring

---
Cainfo Example
Cainfo Example
Get information about a process variable
cainfo S35DCCT:currentCC
Displays
State: connected
Host: pvgatemain1.aps4.anl.gov:5064
Access: read, no write
Native data type: DBF_DOUBLE
Request type: DBR_DOUBLE
Element count: 1

---
EPICS Extensions Web Page
EPICS Extensions Web Page

---
MEDM
MEDM
- Stands for Motif Editor and Display Manager
- Created in 1990, still used at many facilities worldwide
- Written in C, very hard to extend and modify
- The principal human interface to the APS control system
[Speaker Notes: 06/20/14]

---
MEDM Screens
MEDM Screens
And thousands of others

---
EDM
- Extensible Display Manager (C++, still based on Motif)
- Created at SNS (Oak Ridge) in 2001, used at many EPICS sites
- All widgets are loaded from shared libraries and versioned
- Administrator can make additional widgets available without rebuilding EDM

---
Example EDM Operator Screens
EDM Screens
(SNS Linac test)
(Matthias Steiner, Nat'l Superconducting Cyclotron Lab., Michigan State University)

---
StripTool
- Plots process variables in real time on a strip chart
- Heavily used at APS and older sites

---
ALH (Alarm Handler)
- Monitors the operation of the machine
- Notifies control-room operators when abnormal conditions arise
- Provides guidance, logs operator acknowledgements and other actions