EPICS: javaIOC
Marty Kraimer
EPICS Collaboration Meeting
ANL/APS June 12–16 2006

---
Summary
Background
Overview of JavaIOC
Current Status
Remaining work for a beta release
Other desirable components
Example XML definitions
PV Naming

---
Background
Ideas developed during 2005
  - Described in EPICS core-developer wikis
    http://www.aps.anl.gov/epics/wiki/index.php/Core_Developer_Pages
    - V4 Database Definition
    - V4 Database Runtime
  - Many basic concepts are the same
  - Details quite different
    - Java only
    - XML for Database Definition & Instance
    - ...

---
javaIOC Overview
Syntax is XML: Database Definitions and Record Instances
Field Types: structure and array are supported
Channel access: Similar for Clients and Database Links
Database
  - Each field is object accessed via Interface
  - Record/link support access fields via interfaces
  - Database handles monitors without support calling db_post_event
Better support for data acquisition

---
Current Status
Database Implemented
  - Standard support for reflection
  - Default data implementation
    - support code can provide implementation
  - Listen support – called when field changes
XML parsers implemented
  - Database Definitions &Record Instance
Lots remaining before beta release

---
Current Status - Continued
Basic field types – used by CA
  - Primitive + String: all Java primitives except char
    - boolean, byte, short, int, long, float, double, string
  - enum
  - array – element can be any basic type
  - structure – fields can be any basic type
Database extends types
  - menu – enum with immutable choices
  - link – supportName + support structure
  - structure – fields can also be extended type
  - array – element type can be extended type

---
Beta Release: Remaining Tasks
Channel access
  - Local and remote
  - Gateway to/from EPICS V3
Record processing – see wiki for vision
Include and macro substitution for XML
Shell – probably Jython
iocInit – will support on-line add

---
Beta Release: Remaining Tasks-
continued
Design and implement core set of
  - Database Definition XML files:
    menu structure linkSupport recordType
  - record/structure support modules
  - channel access link support
  - hardware link support based on asynDriver
Lots to do!

---
Other Desirable Components
VDCT: Visual Database Configuration Tool
Access security
Error logging
Put logging
CA clients: Display Manager, Alarm Handler, etc.
???
Lots and lots to do!!

---
Example XML Definitions
Database Definitions
  - menu
  - structure
  - linkSupport
  - recordType
Record Instance

---
menu definition
<menu name = "menuAlarmSevr">
        <choice>none</choice>
        <choice>minor</choice>
        <choice>major</choice>
        <choice>invalid</choice>
</menu>

---
structure definition
<structure name = "displayLimit">
        <field name = "low" type = "double" />
        <field name = "high" type = "double" />
</structure>
<structure name = "linearConvert"
        structureSupportName = "org.epics.ioc.support.LinearConvert">
    <field name = "engUnitsLow" type = "double" />
    <field name = "engUnitsHigh" type = "double" />
    <field name = "slope" type = "double" />
    <field name = "intercept" type = "double" />
</structure>

---
recordType definition
 <recordType name = "example”
        recordSupportName = “org.epics.ioc.support.ExampleRecordSupport"/>
    <field name = "value" type = "double">
    <field name = "priority" type = "menu" menuName = "menuPriority" />
    <field name = "units" type = "string" />
    <field name = "status" type = "string" />
    <field name = "severity" type = "menu" menuName = "menuAlarmSevr" />
    <field name = "timeStamp" type = "structure" structureName = "timeStamp" />
    <field name = "displayLimit" type = "structure" structureName = "displayLimit" />
</recordType>

---
record instance definition
 <record name = "exampleInstance" type = "example"
        recordSupportName = “MyExampleRecordSupport” >
    <value>10.0</value>
    <units>volts</units>
    <displayLimit>
        <low>0.0</low>
        <high>10.0</high>
    </displayLimit>
</record>

---
recordType Examples
Simple example was shown
Build a type via embedded structures
  - Analog input example
  - Power supply example
Embedding vs linked records
  - javaIOC supports both approaches
  - Design decision

---
Example: Analog Input
recordType aiLinearRecord
  - Has a field that is a structure aiLinear
  - Support works with other structures
structure aiLinear
  - Has a field that is a structure aiRaw
  - Support works with other structures
structure aiRaw
  - Support gets input via asyn style interfaces

---
Structure aiRaw
 <structure name = "aiRaw" structureSupportName = “org.epics.ioc.support.AiRaw” >
    <field name = "value" type = "int" >
        <property name = "status" associatedField = "status" />
        <property name = "severity" associatedField = "severity" />
        <property name = "timeStamp" associatedField = "/timeStamp" />
    </field>
    <field name = "status" type = "string" />
    <field name = "severity" type = "menu" menuName = "menuAlarmSevr" />
    <field name = "input" type = "link" />
</structure>

---
Structure aiLinear
 <structure name = "aiLinear"
        structureSupportName = “org.epics.ioc.support.AiLinear” >
    <property name = "rawValue" associatedField = "aiRaw.value" />
    <field name = "value" type = "double" >
        <property name = "status" associatedField = "status" />
        <property name = "severity" associatedField = "severity" />
        <property name = "units" associatedField = "units" />
        <property name = "displayLimit" associatedField = "displayLimit" />
        <property name = "timeStamp" associatedField = ".." />
    </field>
    <field name = "status" type = "string" />
    <field name = "severity" type = "menu" menuName = "menuAlarmSevr" />
    <field name = "units" type = "string" />
    <field name = "displayLimit"
        type = "structure" structureName = "displayLimit" />
    <field name = "aiRaw" type = "structure" structureName = "aiRaw"/>
    <field name = "linearConvert"
        type = "structure" structureName = "linearConvert" />
</structure>

---
recordType aiLinearRecord
 <recordType name = "aiLinearRecord"
        recordSupportName = “org.epics.ioc.support.AiLinear>
    <property name = "value" associatedField = "aiLinear.value" />
    <property name = "rawValue" associatedField = "aiLinear.rawValue" />
    <property name = "status" associatedField = "aiLinear.status" />
    <property name = "severity" associatedField = "aiLinear.severity" />
    <field name = "aiLinear" type = "structure" structureName = "aiLinear" />
    <field name = "priority" type = "menu" menuName = "menuPriority" />
    <field name = "timeStamp" type = "structure" structureName = "timeStamp"/>
    <field name = "scan" type = "structure" structureName = "scan"/>
</recordType>

---
Record Instance aiLinearRecord
 <record name = "exampleAiLinear" type = "aiLinearRecord">
    <aiLinear>
        <aiRaw>
        <input linkSupportName = "asynInt" configStructureName = "asynLink">
        <portName>somePort</portName>
        <addr>1</addr>
        </input>
        </aiRaw>
        <units>volts</units>
        <displayLimit>
        <low>0.0</low>
        <high>10.0</high>
        </displayLimit>
        <linearConvert>
        <engUnitsLow>0.0</engUnitsLow>
        <engUnitsHigh>10.0</engUnitsHigh>
        </linearConvert>
    </aiLinear>
    <priority>medium</priority>
</record>

---
Example: Power Supply
structure powerSupply
  - Simple just power, current, voltage
    - current and voltage via structure aiLinear
    - power is just current*voltage
recordType powerSupplyRecord
  - Has a field which is structure powerSupply
recordType powerSupplyArrayRecord
  - Has an array field with elementType structure
  - Instance makes elements powerSupply

---
structure powerSupply
 <structure name = "powerSupply"
        structureSupportName = “somepackage.support.PowerSupply”>
    <property name = "current" associatedField = "currentInput.value" />
    <property name = "voltage" associatedField = "voltageInput.value" />
    <field name = "power" type = "double" >
        <property name = "status" associatedField = "status" />
        <property name = "severity" associatedField = "severity" />
        <property name = "units" associatedField = "units" />
        <property name = "displayLimit" associatedField = "displayLimit" />
        <property name = "timeStamp" associatedField = ".." />
    </field>
    <field name = "currentInput" type = "structure" structureName = "aiLinear" />
    <field name = "voltageInput" type = "structure" structureName = "aiLinear" />
    <field name = "status" type = "string" />
    <field name = "severity" type = "menu" menuName = "menuAlarmSevr" />
    <field name = "units" type = "string" />
    <field name = "displayLimit"
        type = "structure" structureName = "displayLimit" />
</structure>

---
recordType powerSupplyRecord
 <recordType name = "powerSupplyRecord"
        structureSupportName = “somepackage.support.PowerSupply”>
    <property name = "power" associatedField = "powerSupply.power" />
    <property name = "current" associatedField = "powerSupply.current" />
    <property name = "voltage" associatedField = "powerSupply.voltage" />
    <field name = "powerSupply"
        type = "structure" structureName = "powerSupply" />
    <field name = "status" type = "string" />
    <field name = "severity" type = "menu" menuName = "menuAlarmSevr" />
    <field name = "timeStamp" type = "structure" structureName = "timeStamp"/>
    <field name = "priority" type = "menu" menuName = "menuPriority" />
    <field name = "scan" type = "structure" structureName = "scan"/>
</recordType>

---
recordType powerSupplyArrayRecord
 <recordType name = "powerSupplyArrayRecord"
        structureSupportName = “somepackage.support.PowerSupplyArray” >
    <field name = "powerSupply" type = "array" elementType = "structure" />
    <field name = "status" type = "string" />
    <field name = "severity" type = "menu" menuName = "menuAlarmSevr" />
    <field name = "timeStamp" type = "structure" structureName = "timeStamp"/>
    <field name = "priority" type = "menu" menuName = "menuPriority" />
    <field name = "scan" type = "structure" structureName = "scan"/>
</recordType>

---
PowerSupplyRecord instance
 <record name = "examplePowerSupply" type = "powerSupplyRecord">
    <powerSupply>
        <units>watts</units>
        <displayLimit>
        <low>0.0</low>
        <high>100.0</high>
        </displayLimit>
        <currentInput>
        <aiRaw>
        <input linkSupportName = "asynInt" configStructureName = "asynLink">
        <portName>somePort</portNname> <addr>2</addr>
        </input>
        </aiRaw>
        <units>amps</units>
        <displayLimit>
        <low>0.0</low>
        <high>10.0</high>
        </displayLimit>
        <linearConvert>
        <engUnitsLow>0.0</engUnitsLow>
        <engUnitsHigh>10.0</engUnitsHigh>
        </linearConvert>
        </currentInput>

---
PowerSupplyRecord instance
        <voltageInput>
        <aiRaw>
        <input linkSupportName = "asynInt" configStructureName = "asynLink">
        <portName>somePort</portName>
        <addr>2</addr>
        </input>
        </aiRaw>
        <units>volts</units>
        <displayLimit>
        <low>0.0</low>
        <high>2.0</high>
        </displayLimit>
        <linearConvert>
        <engUnitsLow>0.0</engUnitsLow>
        <engUnitsHigh>2.0</engUnitsHigh>
        </linearConvert>
        </voltageInput>
    </powerSupply>
    <priority>medium</priority>
</record>

---
PV Naming
EPICS V3 – pvname is <record>.field
javaIOC - <record>.name.name. ...
  - Assume “<record>.” thus name.name. ...
Why “name” instead of “field” ?
  - Could be field, i.e. Traverse structure hierarchy
  - Properties provides better way

---
Property
Assigned to field, structure, recordType
Provides two features
  - When assigned to a field
    - References a field that has associated information
  - When assigned to a structure or recordType
    - Look elsewhere for the data

---
Field Property
 <structure name = "aiRaw">
    <field name = "value" type = "int" >
        <property name = "status" associatedField = "status" />
        <property name = "severity" associatedField = "severity" />
        <property name = “timeStamp” associatedField = “/timeStamp” />
    </field>
    <field name = "status" type = "string" />
    <field name = "severity" type = "menu" menuName = "menuAlarmSevr" />
</structure>

---
Field Property Comments
The field value has properties:
  - status: the data is in aiRaw.status
  - severity: the data is in aiRaw.severity
  - timeStamp: start looking at top of record for property or field timeStamp.

---
Structure Property
 <structure name = "aiLinear">
    <property name = "rawValue" associatedField = "aiRaw.value" />
    <field name = "aiRaw" type = "structure" structureName = "aiRaw"/>
</structure>

---
Structure Property Comments
structure aiLinear has property rawValue
  - Look in aiLinear.aiRaw
    - In aiRaw look for value
  - In this example that is the location of value
  - The search can be recursive
  - The search can lead another record
A recordType is also a structure
  - Thus it can have properties

---
Locating fields in a powerSupplyRecord
The following slide shows the actual field and associated property fields for the power, current, and current.rawValue
Again “<recordName>.” is left off the pvname

---
pvnames for a powerSupplyRecord
 power => powerSupplyRecord.powerSupply.power
       properties are:
        status => powerSupplyRecord.powerSupply.status
        severity => powerSupplyRecord.powerSupply.severity
        units => powerSupplyRecord.powerSupply.units
        displayLimit => powerSupplyRecord.powerSupply.displayLimit
        timeStamp => powerSupplyRecord.timeStamp
current => powerSupplyRecord.powerSupply.currentInput.value
       properties are:
        status => powerSupplyRecord.powerSupply.currentInput.status
        severity => powerSupplyRecord.powerSupply.currentInput.severity
        units => powerSupplyRecord.powerSupply.currentInput.units
        displayLimit => powerSupplyRecord.powerSupply.currentInput.displayLimit
        timeStamp => powerSupplyRecord.timeStamp
current.rawValue => powerSupplyRecord.powerSupply.currentInput.aiRaw.value
       properties are:
        status => powerSupplyRecord.powerSupply.currentInput.aiRaw.status
        severity => powerSupplyRecord.powerSupply.currentInput.aiRaw.severity
        timeStamp => powerSupplyRecord.timeStamp