## Slide 1
Edm for old eyes
R. Keitel, Triumf
2013-05-02

## Slide 2: Some History (boring)
TRIUMF uses EPICS since 1996
Started with edd/dm (anyone remembers?)
Converted to edm in 2005
Right now no resources for anything but edm
Close to 4000 .edl files
  900 interactive
  3000 script-generated
    mostly device control panels (face plates)
Will at least double with ARIEL project

## Slide 3: Synoptic displays

## Slide 4: Device Control Panels
Script-generated
Interlock Display:
based on PLC program
also used for logic validation vs specification

## Slide 5: dm vs edm
edm is vastly superior
but
  ….dm allowed re-sizing of windows
  edm does not
Our screens were designed for 1280x1024
Moved to 1900x1200  pixel size changed
   edl displays look and feel smaller
Some user / operator complaints
   need to offer “something better”

## Slide 6: Solution
Perl tool
  magnifies .edl files
    Related display callups call magnified files
    Embedded windows call magnified files
  works well – operators are happy
  -- does not scale drop-down menu texts

## Slide 7: Magnification Button
Low quality screen movie of functionality: http://isacwserv.triumf.ca/epics201305/epics2013.swf.html