## Slide 1
EVE
CSS based EPICS scan engine
Marcus Michalsky, Hartmut Scherr, Jens Eden PTB Berlin

## Slide 2
EVE
Editor: flexible and easy configuration of scans
Viewer: quick overview and access to all used devices and instruments
Engine: Control scan process, watch online plot

## Slide 3
Device Definition
CA
CA
Overview
Control
Scan Definition
Scan- Engine
Engine
GUI
Editor
Viewer
Datafile
EPICS
IOCs

## Slide 4
Viewer
Alias names for PVs
Devices may be grouped

## Slide 5
Editor
Scan Sequence is built of Scan Modules
Scan Modules may be appended or nested

## Slide 6
Scan Module
Scan Modules may have
Axes with a corresponding position list
Detectors Channels
Pre- / Post-Scan Actions
Predefined Positioning Functions
Plot Definition

## Slide 7
Editor
Define motor axis positions:
Start, Stop, Stepwidth
follow other axis (with offset / factor)
read positions from file
(get positions from position plugin)

## Slide 8
Events
Event Sources:
Control Button
Monitor PV ( >, < , !=, == )
Scan Module finished
Detector readout finished
Event Actions:
Start / Stop Scan Module
Skip current Scan Module and proceed with next
Pause / Continue
Trigger Measurement
Repeat

## Slide 9
Engine
Live Comment may be entered here

## Slide 10
Engine
Devices may be grouped

## Slide 11
Engine
Scan Engine features:
Run Standalone (Batch mode)
CLI tool to push Scan Definitions
Several Control Windows may connect to one Scan Engine
Plugin interface for data storage ASCII Data built-in, HDF5 plugin available
Qt Library / C++

## Slide 12
EVE
Eclipse Help Pages
Available at Github soon: www.github.com/eveCSS