## Slide 1: EPICS Core (and other development efforts)
L. Dalesio.
EPICS
April 25, 2013

## Slide 2: Outline
EPICS Architecture
EPICS Development
  Core
  Core Services
  Related developments
  Coordination of Development
Conclusions

## Slide 3: EPICS Support for Middle Layer Services
Distributed Front-Ends
?Refactor? XAL, MMLT, SDDS, GDA
Physical Device
Ethernet
Thin HLA Client
CAC
CAC
Control System Studio
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Channel Archiver View
PVManager
PVAS
Channel Finder Server
SQL
PVAC
PVAC
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
Unit Conversion
CAC
PVAC
PVAS
Orbit
CAC
PVAS
Alignment, Magnet Map..
SQL
RDB
PVAC
Save / Retrieve
PVAS
PVAC
PVAS
Archive Retrieval
XML/RPC
Channel
Archiver
PVAC
RDB
RDB

## Slide 4: EPICS IOC Support for Large Data
1) Request Parallel lanes for user FPGA
Spec, GDA, Edna etc…
Detector
Ethernet
Thin HLA Client
CAC
CAC
Control System Studio
CAC
Data Acq.
CAS
Channel Archiver View
PVManager
PVAS
Channel Finder Server
SQL
RDB
PVAC
PVAS
PVAS
Virtual Axis Conversion
CAC
PVAC
PVAS
Analysis
CAC
PVAS
Experiment Information.
SQL
RDB
PVAC
Log Service
PVAS
PVAC
PVAS
Scan Server
XML/RPC
Channel
Archiver
PVAC
N-lanes
Detector
Storage
User FPGA
Data Analysis.
CAS
PVAS
2) User FPGA Converts to NTType
3) Analysis In IOC creates resutls as NTType
4) Analysis In middle layer sevice creates resutls as NTType
5) Connect V4 client to existing codes

## Slide 5: EPICS Core
Team
  Michael Davidsaver (BNL), Bob Dalesio (BNL), David Hickins (DLS), Jeff Hill (LANL), Andrew Johnson - release management (ANL), Timo Korhonen (PSI), Marty Kraimer, Ralph Lange (HMI), Nikolay Malitsky (BNL), James Rowland (DLS), Matej Sekoranja (Cosylab), Guobao Shen (BNL), Greg White – development chair (PSI/SLAC)
IOC Enhancements
  Support higher throughput of large data sets
  Support atomic get and put operations on a single IOC
  Optimize connections of large data sets to PVAccess
  Develop records to manipulate large data sets such as images and multidimensional arrays
PVAccess extensions to support high throughput services
  Continue to optimize performance on different platforms
  Implement a multi-cast solution for large data sets
  Implement a communication “channel” for broadcasts such as log messages or alarms
NT_Types
  Complete NTMatrix
  Complete a definition for Image and N-Dimensional Arrays
  Packaging of meta data such as AreaDetector
  Continue to expand this set to support middle layer service development

## Slide 6: EPICS Core Service Development
Channel Finder (Ralph Lange)
Save and Retrieve (Guobao Shen)
Image Server / Multidimensional Array Server (David Hickin, Michael Davidsaver)
History Server (Murali Shankar, David Hickin, Nikolay Malitsky)
Model Server (Greg White, Guobao Shen)
Scan Server (Daron Chabot, Kay Kasemir)
Log Service (Kunal Shroff, Eric Berryman, Kay Kasemir)
Other services as they are identified

## Slide 7: EPICS Related Developments
Control System Studio – integrating middle layer services to provide configuration and real time display.
  This collaboration includes: Kunal Shroff, Gabriele Carcassi, Eric Berryman, Xuihui Chen , and Kay Kasemir
  There are planned releases with unit testing
  SNS uses some tools in operation for alarm viewing and image viewing
  NSLS II and FRIB are using all of the CSS tools for operations (BOY, BEAST, Channel Finder, OLOG)
  PVAccess plugs into PVManager
Relational Database Tools
  Channel Finder* - tools to populate it, tools in CSS to manage it, display tools use this tool on CSS, used through Python for applications
  Save / Retrieve Sets* -- tools in CSS to retrieve this
  Log* -- tools in CSS to make entries, used in physics applications thorugh python
  Lattice* -- under construction
  Inventory, Installation, Inventory, cables – stand alone applications
  PV Crawler – stand alone applications
  Traveler – stand alone applications
  Etc……
Physics Application
Beam Line Applications

## Slide 8: Coordination of development
  Core and Core services team
    Meets weekly on a google hangout. Chair – Greg White
    Charter is written and worked yearly.
    Action items and resolutions are documented in weekly notes
  Control System Studio
    Developers meet monthly on google hangout
    Make monthly releases
    Resolved this week to add some formality to the process
  Database Developers
    Developers meet weekly on google hangout – Chair – Vasu Vuppala
  Physics Applications
    Group starting this year – Chair – Greg White
  Beamline Applications
    Forming a group this year to start on collection, analysis, visualization

## Slide 9: Conclusions
  There is a tremendous amount of effort dedicated to improving infrastructure for operations, machine studies, experiment control, and data acquisition.
  The EPICS Core development team has grown to support structured data.
  The Core Services bring domain knowledge to the EPICS core team while providing standard middle layer services.
  Other developments provide client applications and domain specific services that inform the core development groups.
  Semi-annual meetings will be organized to facilitate these groups to have joint sessions.
  There is a major change in the scope of what we are able to accomplish with these tools. Many of them are deployed at developers’ facilities and are required to be production ready in twelve months.